**Annexure A**

**Scope of work of the Vendor**

Water reservoir line maintenance and tapping

On satisfactory completion of whole of the works of the contract, the Engineer of GPPL shall issue a completion certificate to the Contractor.  Engineer may list out any defects or minor balance items, which shall be attended to by the Contractor within reasonable period failing which the same could be rectified / completed by GPPL at the risk and cost of the Contractor.

All the materials used in the work shall be of standard quality and the material rejected shall be removed from the site by the contractor in the presence of the GPPL Engineer in-charge at his own cost.

The contractor shall be responsible and liable to pay for the damages caused by him to GPPL property etc

All machinery shall be provided by the contractor. Non availability of the same shall not be an excuse for application for extension of time limit.

Materials belonging to contractor if not removed from site of works after completion of the work within a period of 7 days shall be taken over by GPPL at contractors risk and cost and then shall be auctioned at the contractor’s risk and cost. The amount so recovered shall be credited to contractor’s account after recovery of any dues or over payments etc

Necessary sign board, danger flags shall be provided by the contractor to avoid accidents. Necessary guarding will also have to be provided.

The contractor will make his own arrangement for receiving all materials, tools, etc. required for the work.

The rates for all items are inclusive of all charges such as carting, lifting etc. No extra payment for any lead and lifts will be paid for any item.

The contractor should not sublet any work without written permission of the Engineer-In-Charge.

All piping works including installation of insulating joints, flow tees, valves, hook-up, Excavation etc.

All works related to hydro testing to be carryout Whenever required by contractor.

**Annexure B**

**Standard Rates**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sr. No | Description | Qty | Unit | Rate (INR) |
| 1 | Water air waive maintenance. | 1 | pcs |  |
| 2 | De watering | 1 | pcs |  |
| 3 | Sand fill/remove | 1 | pcs |  |
| 4 | Illegal tapping removal from GWIL main water line 300 mm dia | 1 | pcs |  |
| **5** | Slooze valve and NRV and butter fly maintenance/re placement. valve  A.100mm valve -1  B.200mm valve -2  C.300mm valve -3 | 1  2  3 | pcs  pcs  pcs  pcs |  |
|  |
| 6 | Water meter/Water filter replace | 1 | pcs |  |
| 7 | Motor's pump maintenance | 1 | pcs |  |
| 8 | Water meter filter repair. | 1 | pcs |  |

**ANNEXURE C**

**Non Conformity Discout (Penalty) Structure**

The following penalty clauses will be applicable if there are lacunae in contractor’s performance.

|  |  |  |
| --- | --- | --- |
| S.No. | Nature of Non-Conformity | Penalty  (per instance) |
| 1 | If any of the jobs related to work entrusted and remains incomplete or not up to the satisfaction or any job is denied resulting in loss to company work, in such case penalty of Rs. 2500/- per complaint or as assessed by the company be deducted from the bill. APMTP decision in this regard will be final and binding. | INR 2,500/- |
| 2 | In case any misconduct or misbehavior of personnel observed by any of APMTP officer, penalty up to a maximum of 10% on monthly bill value will be recoverable from your bill. | 10% on monthly bill |

In the event, continuous services are not provided or trained personnel are not deployed continuously or in the event of strike by the vendor’s employees affecting The performance of the services, then, it shall attract non-conformity discount (penalty) per incidence as per the provisions of this Agreement.